Tenma model 72-455A

  Low distortion

  10Hz ~ 1MHz audio in in five range steps

  Sine and square wave output

  Continuously variable amplitude

  Selectable 10dB, 20dB, 30dB, 40dB and -50dB attenuator

  External sync input

  Includes owners manual, test leads and power cord

Specifications

  Generator frequency: 10Hz ~ 1MHz, ±0.5dB (600ohm load)

  Sine wave output: 7V RMS (no load)

  Distortion (x100 range): ≤0.1% (400Hz ~ 20KHz)

  Distortion (x10 range): ≤0.3% (100Hz~100KHz)

  Square wave output: 10V p-p (no load)

  Rise/fall time: ≤200nsec

  Overshoot: <2%

  Output impedance: 600ohm

  Power requirements: 120V/240VAC, 50/60Hz

  Dimensions: 5 1⁄2" (W) x 7 3⁄4" (H) x 10" (D)